Enclosure No.8

To Agreement No. ____________

dd.____________ “  “ 20_______

Regulations for mutual relations between _________________________ and ______________ under the conditions of partial or complete electricity consumption constraint.

- General Requirements

1.1. Present regulations cover parties’ relations in terms of parties’ interaction order under conditions of electricity consumption constraint, or resumption of supply. Interaction order provides for the following:

- Order of obligatory advance written notification of consumer on electricity consumption constraint after 5 working days from the notification receipt date. Notification should be signed by an authorized representative of the constraint introduction initiator and should be either handed in to the Consumer on receipt or sent by registered post with notification of delivery;

- Obligatory introduction of partial consumption constraint for the period indicated in the notification in case the Consumer fails to answer demand to repay the debt at a time fixed in the notification;

- Complete electricity consumption constraint in case the Consumer does not pay the debts accumulated in full measure, including cancellation penalty (fine, overdue interest), or in case any other demand indicated in notification on partial consumption constraint was not fulfilled after 3 working days from the date of partial consumption constraint introduction.

1.2. In reference to Consumer (definite facilities), which have act of accommodation of technological and emergency reservation, in case of non-fulfillment or improper fulfillment of Consumer’s obligations as well as in case the parties terminate performance of obligations assumed under agreement about electricity supply, consumption restraint of which may result in danger to life, health and environmental or to national safety and safety of the Consumer, consumption restraint of which should not exceed emergency reserve, the following order of consumption restraint introduction is applied:

- Obligatory advance written notification of consumption restraint after 5 working days from the notification receipt date sent to the Consumer;

- In case the Consumer did not pay abovementioned debt before the date indicated in notification, partial consumption constraint beyond technological reserve level is introduced, and after 5 days from such a consumption constraint introduction consumption constraint to the level of emergency reserve is introduced;

- In case the Consumer does not pay the debt or does not fulfill other legitimate demands indicated in notification on partial consumption restraint after 10 days from introduction date of consumption restraint to emergency reserve, complete consumption restraint may be introduced if the Consumer and authorized government bodies are notified of the day and time of complete consumption constraint introduction in advance but not later than one working day before the date of such consumption constraint introduction. This regulation is not to cover Consumers consumption constraint of which must not exceed emergency reserve level;

1.3. In cases consumption constraint introduction is necessary, Grid Company notifies the Consumer of grounds and terms of the constraint introduction.

1.4. Consumption constraint is introduced in the form of partial electricity consumption constraint or complete supply disconnection of Consumer’s electric installations.

1.5. Partial consumption constraint is followed by reduction of electric power volume delivered to Consumer up to the value which is less than that determined by the agreement, or by termination of electric power supply of the Consumer for determined time periods every day, week or month.

Partial consumption constraint is implemented:

- By Consumer independently with the Grid Company controlling electric power consumption mode;

- By Grid Company through electric facilities owned by Consumer if there is technical feasibility to reduce volume of electric power delivered to the Consumer.

1.6. Complete consumer constraint is followed by termination of electric power supply of the Consumer by means of switching units disconnected by Grid Company. In case switching units are absent, consumption constraint is performed by means of manual circuit interruption. In such a case, consumption resumption following constraint introduction is not considered a new technological connection and does not require agreement for technological connection of Consumer’s equipment, except for cases of consumption constraint resulted from unauthorized connection of electric power receivers of the Consumer to electric grid of the Grid Company.

1.7. In case Consumer did not take measures for fault-free termination of technological process within the time limit indicated in the notification, did not provide personnel safety and care of the equipment, Grid Company has no right to undertake any activity to constrain consumption and is to notify of it initiator of the constraint introduction. Initiator of the constraint introduction is to again notify the Consumer and authorized executive government body of the constituent entity of the Russian Federation of introduction date of such a consumption constraint. Initiator of constraint introduction is to notify federal authority for civil defense and emergencies (its local agency). Grid Company is to implement activities aimed at consumption constraint introduction in the presence of Consumer’s representatives within the time-limit indicated in the renewed notification (with obligatory notification of indicated governmental authorities incase of their representatives’ nonattendance). At that, Consumer is held liable for losses resulted from consumption constraint introduced (except cases when consumer constraint introduction is properly declared ungrounded). These regulations cover as well cases of Consumer’s unavailability for complete consumption constraint.

1.8 After introduction of consumption constraint Grid Company draws up an act of electric power consumption constraint, which specifies the following:

- Name of the Consumer.

- Metered values as of the time of consumption constraint introduction;

- Disconnected switching units or circuit interruption points;

- Name of Consumer’s authorized representative, held responsible for unauthorized connection to the grid;

- Other dater Grid Company considers necessary.

1.9. Act of electric power consumption constraint is to be signed by Consumer’s representative; refusal to put the signature is to be registered by the act with grounds of refusal indicated. When electricity consumption constraint is introduced in electric installations of Grid Company, the latter has right to draw up the act of electricity consumption constraint in Consumer’s absence. Act of electric power consumption constraint is drawn up in two copies one of which is to be submitted to Consumer, the second one is to be kept at the Grid Company.

In case Consumer exceeds set value of load, Grid Company submits claim to immediately reduce the load to the Consumer and takes measures to reduce the load to the level indicated in the notification.

2. Introduction of Consumption Constraint and Temporary Outage Schedules.

2.1. Electric power consumption constraint in case of emergency or threat of an accident in systems of power supply is implemented in compliance with emergency constraint schedules and by means of emergency control and secure automatics operating.

2.2. Emergency constraint schedules compile two types of schedules:

- Consumption constraint schedules in compliance with which Consumer is notified in advance of necessity to constrain electric power consumption and takes technical (technological) measurements providing curtailment of demand in volume and day periods indicated in the notification in its own right. Such schedules may be implemented without disconnection of power receivers and (or) transmission lines;

- Temporary outage schedules in compliance with which Grid Company implements required electric equipment cut-off at the command of transmission system operator without advance notification of Consumer. In such a case, disconnection of electric installations by personnel of Consumer may be provided for as well.

Temporary outage schedules are introduced in case consumption constraint schedules’ introduction is impossible within the time limits required to prevent an accident. Grid Company notifies Consumer of temporal outage schedules’ introduction as soon as they have been introduced.

2.3. Having received the order or command of transmission system operator on consumption constraint introduction Grid Company notifies Consumer of the fact over phone or by any other means of communication indicating grounds, constraint values, start and end time of constraint. Consumer takes necessary technical (technological) measures in its own right providing curtailment on demand in volume and day periods indicated in the notification. Messages on introduction of schedules for electricity or power consumption constraint may be transmitted over radio or television as well.

2.4. Grid Company controls mode of electric power consumption by Consumer and uses all measuring facilities available, monitoring visits and check measurements.

2.5. If Consumer disregards order concerning consumption constraints introduction, Grid Company notifies transmission system operator of the fact and indicates name of feeding center, feeder number, Consumer’s name and feasibility (necessity) of its outage.

2.6. If there is a command on temporary outage schedules introduction from transmission system operator, Grid Company implements necessary outages and reports on this to initiator of temporary outage schedules introduction.

2.7. Transmission system operator informs Consumer about temporary outage schedules introduction and indicates ground, constraints value, start and end time of constraint.

2.8. Grid Company notifies Consumer of temporary outage schedules introduction by telephone or any other type of message.

3. Consumption Constraint Connected with Necessity of Urgent Measures Taken to Prevent or Eliminate an Accident in Operating Power System under Conditions of Danger to Personnel Life and Safety

3.1. To take urgent measures on prevention and elimination of accidents in operating power supply system under conditions of danger to personnel life and safety or danger of growing accident’s aftermath and equipment destruction, Grid Company has right to partially or completely constrain Consumer’s electric power consumption at subsequent notice.

3.2. When power consumption mode of Consumer can not be resumed within twenty four hours, Grid Company is to notify Consumer of the causes of the accident and terms of electricity consumption mode resumption.

4. Consumption Constraint Based on Grounds of Conclusion Concerning Unsatisfactory Condition of Consumer’s Electric Power Installations Creating a Threat of Accident or Inviting Danger to Personnel Life and Safety Made by Interregional Administration for Environmental and Engineering Supervision

4.1. When receiving improvement notice of Interregional Administration for Environmental and Engineering Supervision concerning unsatisfactory condition of Consumer’s electric power installations creating a threat of accident or inviting danger to personnel life and safety Grid Company is to notify Consumer of the fact within twenty-four hour period. Consumer is to provide introduction of partial or complete electricity consumption constraint in Its electric power installations.

5. Resumption of Electric Power Consumption Mode

5.1. Consumer’s electricity consumption mode, which was previously constrained on request of constraint initiator, is to be resumed not later than in twenty four hours after application for electric power supply resumption made by constraint initiator and sent in accordance with order established by the present Regulation.

5.2. Canceling of partial or complete consumption constraint results in its resumption in mode and volume provided by the agreement.

5.3. Electricity supply to Consumer, which was constrained in compliance with “Schedules of Temporary Electric Power Constraint (Outage)”, is resumed on the basis of commands given by entity of operational dispatch management.

5.4. In all the different cases electric power supply constraint is introduced, it is to be resumed by Grid Company upon completion of operation of circumstances, which appeared to be ground for constraint introduction.

Grid Company:                                                                    Consumer:

___________________________                                      ________________________

____________________ “  “ 20__                                      ________________ “  “ 20 __

SEAL                                                                                   SEAL