The Government of the Russian Federation

Regulation

dated 21 April 2009 No. 334

On Adopting Amendments in some Acts of the Government of Russian Federation

on Issues of Perfection the Order of Technological Connection of the Consumers

to Electric Grids

The Government of the Russian Federation decides to:

- Adopt the attached amendments which are entered in the Acts of the Government of the Russian Federation on issues of improving the technological connection procedure of the Consumers to the electrical power grids.

2. The Federal Antimonopoly Service to develop mutually with the Ministry of Economic Development of the Russian Federation, the Ministry of Energy of the Russian Federation, the Ministry of Industry and Trade of the Russian Federation, and the Federal Service on Tariffs; and to submit in 3 months period in the stipulated order to the Government of the Russian Federation a draft Act of the Government of the Russian Federation, providing improvement of the procedure of the technological connection to the electrical power grids of electric power units, grid facilities, and electric power receiving units.

3. The Ministry of Energy of the Russian Federation to develop and adopt in one month period module scheme forms of the technological connection of the electric power receiving units of legal entities or individual entrepreneurs, which peak capacity comprises up to 100 kW inclusively (considering the earlier connected capacity in the given capacity connection terminal) and which technological connection is provided via one electric power supply source, as well as the electric power receiving units of individuals, which peak capacity comprises up to 15  kW inclusively (with consideration of the earlier connected capacity in the given capacity connection terminal), which are used for households and other needs, and are not related to performing business activities. And technological connection of which is provided by one electric power supply source.

Prime Minister of the Russian Federation,

Vladimir Putin

Adopted

by the Order of the Government

of the Russian Federation

dated 21 April 2009 No. 334

Amendments

Introduced in Acts of the Government of Russian Federation on Issues of Perfection the Order of Technological Connection of the Consumers

to Electric Grids

1. In the Decree of the Government of the Russian Federation “On adopting the standards for disclosure of information by the subjects of wholesale and retail markets of electric power” No. 24 dated 21 January 2004 (Collection of the Legislative Acts of the Russian Federation, 2004 No. 4, cl. 282; 2005, No. 7, cl. 560):

a) paragraph 2 to state in the following revision:

“2. To stipulate that the Federal Antimonopoly Service and its regional bodies, the Federal Tariff Service and executive power bodies of the subjects of the Russian Federation in sphere of the state regulation of tariffs in frames of their authorities, effect governmental control upon adhering the standards for disclosure of information by the subjects of the wholesale and retail markets of electric power.”;

b) section II of the standards of disclosure of information by the subjects of the wholesale and retail markets of electric power, adopted by the mentioned Decree, to stipulate in the following revision:

“II. The Standard of information disclosure by a company on management of the Unified National (all-Russia’s) Power Grid and regional grid companies

11. The Company managing the Unified National Power Grid and territorial grid companies (further – the Grid Companies) besides of the information, stipulated in paragraph 9 of the present document, places in an opened access at its official website the following information:

a) conditions of the Contracts of service rendering of electric power transmission and standard Contracts of performing the technological connection with notification of the source of official publishing of the normative legal act which regulates the conditions of those Contracts;

b) information on tariffs for the services on electrical power transmission and the technological connection with notification of the official publishing source of the Decree of the Regulatory Body on tariffs establishing;

c) information on amount of losses appearing in the electrical power grids of the Grid Company, inclusively:

extent of losses in the grids, including normative losses level and deviations from them in general along the Grid Company and along the regions of service with consideration of nominal classes and voltage levels with extraction of losses amount paid by the Grid Company and amount of losses, paid by the Consumers when making payments for electrical power at the wholesale market, and also percentage ratio of the losses amount in the grids and quantity of transmitted electric power per annum with notification of the publication source of the Decree on establishing level of the normative losses;

list of measures on reducing losses amount in the grids, as well as periods of their fulfillment and sources of financing;

publication source of the methodological instructions on determination of the normative losses in the grids, adopted by the authorized Federal Body of the executive power;

information on the order of purchasing by the Grid Companies of electric power for losses compensation in the grids and its cost;

d) list of zones of activity of the Grid Company with detailing by the settlements and districts of towns;

e) information on technical condition of the grids, including:

Quantity of emergency restrictions (disconnections) per a quarter and year by borders of the territorial activity zones of the company with notification of emergency reasons and measures on their elimination;

A volume of undelivered electric power as the result of emergency restrictions (disconnections);

f) information on a total flow capacity of each area of the electrical power grid (at locations of substations, transformers, and distribution facilities) with notification of:

the current capacity reserve for connection of the consumers (in absolute values) with consideration of connected consumers and separately with consideration of concluded Contracts for the technological connection;

planned reserve of capacity for the end of a year with consideration of connected consumers, concluded Contracts for the technological connection, submitted applications for the technological connection and realization of capital investments plans (investment programmes);

g) reports on fulfillment of annual plans of capital investments and overhaul plans (investment programmes) with notification of achieved results in part of enhancing flow capacity and enlarging reserve for connection of the consumers separately by each area of the electrical power grids (at locations of the substations, transformers, and distribution facilities);

h) plans of capital investments and overhaul plans (investment programmes), related to reconstruction and development of the electric power grids, agreed in the order established by the Government of the Russian Federation with notification of enhancement date of flow capacity and enlarging reserve for connection of the Consumers by each area of the electric grid (at locations of the substations, transformers, and distribution facilities);

i) annual schedules of overhaul of the electric power facilities, agreed with the system operator (its area management), and also information on planned restrictions of capacity by main cross-sections of the electric power grid related to the repairing works;

j) information on submitted applications for the technological connection and concluded Contracts for the technological connection per each area of the electrical grid (at locations of substations, transformers, and distribution facilities) with notification of:

quantity of submitted applications and capacity volume, necessary for their satisfaction;

quantity of concluded Contracts for the technological connection, connected capacity volume, periods and costs per each Contract separately;

information on nullified applications for the technological connection.

12. information stated in subparagraphs “a” and “d” paragraph 11 of the present document, is a subject to be published at the official website of the Grid Company on the Internet annually, till 1 March.

Information stated in subparagraphs “b”, “c”, “e”, “g”, and “i” paragraph 11 of the present document is a subject to be published at the official website of the Grid Company on the Internet and in the official printed edition annually, by 1 March.

Information stated in subparagraphs “f” and “j” paragraph 11 of the present document, is a subject to be published at the official website of the Grid Company on the Internet not less than once a month.

Information stated in subparagraph “h” paragraph 11 of the present document is a subject to be published at the official website of the Grid Company on the Internet annually, by 1 March, and renewal within 10 days from the date of adopting in the investment programme order established by the Government of the Russian Federation.

Information placed at the official website of the Grid Company on the Internet shall be stored in an opened access not less than 3 years”.

2. In the Decree of the Government of the Russian Federation of 27 December 2004 No. 861 “On adopting the Rules of nondiscriminatory access to the services on electric power transfer and rendering those services, Rules of nondiscriminatory access to the services on operative-dispatcher management in electric power industry and rendering those services, Rules of nondiscriminatory access to the wholesale trade system administrator services and rendering those services and Rules of the technological connection of the electric power receiving units (electric power facilities) legal entities and individuals to the electric power grids” (Collection of Legislative Acts of the Russian Federation 2004 No. 52, cl. 5525; 2007, No. 14, cl. 1687; 2009, No. 8, cl. 979):

a) in the name and paragraph five of point 1, the words “units (energy installation) of legal entities and individuals to the electrical power grids” to replace with words “units of the electric power Consumers, facilities for electric power production, and also electric power facilities, owned by the Grid Companies and other persons, to the electric power grids”;

b) to infill paragraph 2 with paragraph of the following content:

“to determine the Federal Antimonopoly Service and the Federal Tariff Service in frames of its competence by authorized federal bodies of the executive power to perform control for the technological connection rules of the electric power receiving units of the electric power Consumers, electric power producing facilities, as well as electric power grid facilities owned by the Grid Companies and other persons, to the electric power grids”;

c) in the Rules for the technological connection of the electric power receiving units (electric power units) of legal entities and individuals to the electric power grids, adopted by the mentioned Decree:

in the name of word “units (electric power units) of legal entities and individuals to the electric power grids” to replace with words “units of electric power Consumers, electric power producing facilities, as well as facilities of the electric power grids, owned by the grid companies and other persons, to the electric power grids”;

in paragraph 1 words “units (electric power units)” to replace with words “units (electric power units and electric power grid facilities)”, words “conditions (individual) for connection to the electric power grids (further – Technical Conditions) and criteria of presence (absence) of technical possibility for the technological connection” to replace with words “conditions, including individual for connection to the electric power grids (further- the Technical Conditions), criteria of presence (absence) of the technical possibility for the technological connection and specifics of the technological connection of the electric power receiving units of the Consumers by means of redistribution of the connected capacity among legal entities and individual entrepreneurs”;

paragraph 3 to append a paragraph of the following content:

“Independently of presence or absence of the technical possibility of the technological connection on the date of application of the Consumer, the Grid Company is obliged to conclude the Contract with entities, stated in points 12.1, 14, and 34 of the present Rules who applied to the Grid Company with an application for the technological connection of the electric power receiving units, owned by them under the property right or on any other basis provided by the Law (further– the Application), as well as to perform measures in relation of the electric power receiving units of such entities on the technological connection”;

in paragraph 7:

In subparagraph “a”:

words “for the technological connection (further- the Application )” to expel;

words “increasing the capacity of the electric power receiving units” to replace with words “increasing volume of the connected capacity”;

subparagraph “d” to add with words “(with the exception of facilities of the entities, mentioned in paragraphs 12.1 – 14 of the present Rules)”;

to append subparagraphs “d 1” and “d 2” with the following content:

“d 1) performing by the Grid Company of the actual connection of the Applicant’s facilities to the electric power grids. For the purpose of the present Rules under actual connection is understood a complex of the technical and organizational measures, providing a physical connection (contact) of the facilities of the electric power grids of the electric power grid organization, to which the Application has been submitted, and the facilities of the Applicant (electric power receiving units, electric power units, and electric power grids) without performing actual supply (accepting) of voltage and capacity to the facilities of the Applicant (fixation of the switching unit in position “switched off”);

d. 2) actual acceptance (supply) of voltage and capacity, effecting by means of including the switching unit (fixation of the switching unit in position “switched on”);”;

paragraph 8 to state the following revisions:

“8. in order to conclude the Contract, the Applicant sends the Application to the Grid Company, electric power grid facilities of which are located at the closest distance from the borders of the Applicant. If at the distance less than 300 meters from the area borders of the Applicant, the electric power facilities of several grid companies are located, the Applicant has a right to send the Application to any of them. These provisions are not valid for the Applicants, who have an intention to perform the technical connection of the electric power receiving units under an individual design.

For the purposes of the present Rules, under the distance from the area borders of the Applicant to the electric power grids facilities of the Grid Company, it is understood a minimal distance measured by the straight line from the area border (location of the connected electric power receiving units) of the Applicant to the nearest facility of the electric power grid (electric power line post, cable line, distribution unit, substation), having the voltage class, mentioned in the Application, existing or planned for commissioning in accordance with the investment programme of the Grid Company, adopted in the established order and periods provided by subparagraph “b” of the present Rules, starting from the Application submission date to the Grid Company.

The Applicant has a right to send a request to the regional management bodies, at which territory the relevant facilities of the electric power grid are located, with notification of the electric power grid facilities location, ownership of which is necessary to determine, and the regional management body is obliged to submit to the Applicant within 15 days, information on ownership of the electric power grid facilities mentioned in the request.

Submitting in relation to one and the same electric power receiving units by the Applicants, stated in paragraphs 12.1 and 14 of the present Rules, simultaneously 2 and more Applications in different grid companies is not allowed, except the cases of the technological connection of the electric power units, in which relation a reliability category is used for electric power supply, providing the use 2 and more electric power sources.

The Application is sent by the Applicant to the Grid Company in 2 copies by a letter with an enclosure list. The Applicant has a right to submit the Application through an authorized representative, and the Grid Company is obliged to accept such application.

In case of sending by the Applicant from the number of persons, mentioned in paragraphs 12.1 and 14 of the present Rules, 2 and more Applications to different grid companies during the technological connection of the electric power receiving units, in relation to which the reliability category of electric power supply is applied, providing usage of 2 and more sources of electric power supply, the Applicant within 3 working days from the sending date of those Applications is obliged to inform on that those electric power grid companies.”;

In paragraph 9:

In paragraph first, words “points 12 and 14” to replace with words “points 12-14”;

Subparagraph “a” to add with words “(for legal entities – a full name and number of record in the Uniform State Register of Legal Entities, for individual entrepreneurs – number of record in the Uniform State Register of Individual Entrepreneurs and date of its entering in the Register, for individuals – surname, name, patronymic, series, number and date of passport issue or other document, proving the personality in accordance with the Legislation of the Russian Federation)”;

In paragraph 10:

Subparagraph “b” after words “Grid Company”, to add with words “nominal voltage class of which comprises 35 kV and higher,”;

add with subparagraphs “d” – “f” of the following content:

“d) document copy proving the property right or other basis provided by the Law for the capital construction facility and (or) a land plot, where located (will be located) the facilities of the Applicant, or the property right or other basis provided by the Law for the electric power receiving units;

e) letter of attorney or other documents proving the authorities of representative of the Applicant, submitting and receiving documents, in case, the Applicant is submitted to the Grid Company by the Applicant representative;

f) module scheme forms of the technological connection of the electric power units, adopted by the Ministry of Energy of the Russian Federation, - for Applicants, stated in paragraphs 12.1 and 14 of the present Rules”;

paragraph 11 to state in the following revision:

“11. the Grid Company has not a right to require submission of information and documents, which are not provided by the present Rules, and the Applicant is not obliged to submit information and documents which are not provided by the present Rules.”;

to append with point 12.1 of the following content:

12.1 in the Application sent by the Applicant – legal entity or individual entrepreneur for purpose of the technological connection by one source of electric power supply of the electric power receiving units, peak capacity of which comprises up to 100 kV inclusively (with consideration of the earlier connected capacity in the given capacity connection terminal), shall be mentioned:

a) information provided by subparagraphs “a” – “b”, “i” and “j” of paragraph 9 of the present Rules;

b) peak capacity of the connected electric power receiving units of the Applicant;

c) load conditions (type of economic activity of the economic subject);

d) suggestions on the order of calculations and conditions of payment by installments for the technological connection – for the Applicants, peak capacity of the electric power receiving units which comprise higher than 15 and up to 100 kW inclusively.”;

paragraphs 13 – 16 to state in the following revision:

“13. in the Application sent by the Applicant for purpose of temporary (for the period not longer than 6 months) of the technological connection of the electric power receiving units owned by him, to supply electric power of the mobile subjects with peak capacity up to 100 kW inclusively (with consideration of the earlier connected in the given capacity connection terminal) shall be mentioned:

Information provided by subparagraphs “a” – “c”, “i” and “j” paragraph 9 of the present Rules;

peak capacity of the connected electric power receiving units of the Applicant;

load conditions (type of economic activity of the economic subject);

period of temporary connection.

For the purpose of the present Rules under mobile facilities is understood the electric power receiving units, implemented for operation with periodical shift and installation at the territories of different administrative-territorial units.

14. In the request sent by the Applicant – an individual with a purpose of the technological connection of the electric power receiving units, peak capacity of which comprises up to 15 kW inclusively (with consideration of the earlier connected capacity in the given capacity connection terminal), which are used for household and other needs, which are not related to effecting a business activity, and electric power supply of which is provided via one source, shall be mentioned:

a) surname, name, and patronymic, series, number, and date of passport issue or another document proving the personality in accordance with the legislation of the Russian Federation;

b) place of residence of the Applicant;

c) information stipulated in subparagraphs “b” and “i” of point 9 of the present Rules;

d) peak capacity of the electric power receiving units of the Applicant.

15. The Grid Company is obliged to send to the Applicant, with the exception of the entities mentioned in points 12.1 and 14 of the present Rules for signing the infilled and signed by it the draft Contract in 2 copies within 15 working days from the request receiving date. Under complicated conditions of the technological connection for the Company on management of the Unified National (all-Russia) Electric Power Grid or other owners of the facilities of such grid, the mentioned period on initiative of the Grid Company could be enlarged up to 40 working days. The Applicant is informed on increasing of the period and basis of its change.

To the Applicants mentioned in points 12.1 and 14 of the present Rules, the Grid Company is obliged to send infilled and signed draft Contract in 2 copies and the Technical Specifications as an integral supplement to this draft Contract within 30 days from the Applicant receiving date.

Payment for the Technical Specifications issue is not charged from the Applicants, mentioned in points 12-14 of the present Rules, except cases stated in point 27 of the present Rules.

If information and documents are not available, mentioned in points 9, 10, and 12 – 14 of the present Rules, the Grid Company informs the Applicant on that within 6 working days from the Application receiving date and sends infilled and signed draft Contract in 2 copies for signing within 15 days from the date of receiving lack information.

The Applicant signs both copies of the draft Contract within 30 days from the receiving date of the draft Contract signed by the Grid Company and sends 1 copy to the Grid Company with documents attached to it, proving authority of the persons signed the Contract.

In case of disagreement with the draft Contract submitted by the Grid Company and (or) its discrepancy with the present Rules, the Applicant has a right to send to the Grid Company a motivated refusal from signing the draft Contract with suggestion of change of the submitted draft Contract and request to bring it in conformity with the present Rules.

The mentioned motivated refusal is sent by the Applicant to the Grid Company by a registered letter with delivery notification.

In case of failure to send the signed draft Contract by the Applicant or motivated refusal from it signing, the request earlier given by such Applicant is to be nullified.

In case, the Applicant sends within 30 days after receiving the draft Contract from the Grid Company, a motivated refusal from signing the draft Contract with requirement on bringing it in accordance with the present Rules, the Grid Company is obliged to bring the draft Contract in accordance with the present Rules within 5 working days period from the receiving date of such request and to submit to the Applicant a new revision of the draft Contract for signing.

The Contract is considered as concluded from the date of receiving the draft Contract copy signed by the Applicant to the Grid Company.

16. The Contract shall have the following significant conditions:

a) list of measures on the technological connection (is determined in the Technical Specifications, being an integral part of the Contract) and obligations of the Parties on their fulfillment;

b) period of measures performing on the technological connection which cannot exceed: 15 working days (if it is not stated a longer period in the request) – for the Applicants, mentioned in paragraph 13 of the present Rules, in case if the distance from the electric power receiving unit of the Applicant to the existing electric power grids of necessary voltage class comprises not longer than 300 meters;

6 months – for the Applicants mentioned in points 12.1, 14 and 34 of the present Rules, in case of the technological connection to the electric power grids of voltage class up to 20 kV inclusively, if the distance from the existing electric power grids of the necessary voltage class to the borders of Applicant’s area, where the connected electric power receiving units are located comprise not longer than 300 meters in towns and urban settlements and not longer than 500 meters in rural area;

1 year – for the Applicants, accumulated connected capacity of the electric power receiving units which is not exceed 750 kVA, if shorter periods are not foreseen by an appropriate investment programme or agreement of the Parties;

2 years – for the Applicants, accumulated connected capacity of the electric receiving units of which is not higher than 750 kVA, if the other periods (but not longer than 4 years) are not foreseen in the appropriate investment programme or agreement of the Parties;

c) provision on responsibility of the Parties for non-fulfillment of the deadlines for obligations stipulated by the Contract and the present Rules, including:

the right of the Applicant in a unilateral order to terminate the Contract when the Grid Company breaches the periods of the technological connection, stated in the Contract;

obligation of one of the Parties to the Contract, when breaching the periods of measures taking on the technological connection to pay penalty to the other Party within 10 working days from the date of delay start, calculated as product 0.014 of refinancing rate of the Central Bank of the Russian Federation, established on the date of the Contract conclusion, and total amount of payment for the technological connection under the Contract per every day of delay;

d) order the balance participation of the electric power grids and operational responsibility of the Parties;

e) amount of payment for the technological connection, determined in accordance with the Legislation of the Russian Federation in sphere of electric power industry;

f) order and periods of making payment by the Applicant for the technological connection;

g) order of interrelations of the Grid Companies and Applicants when money funds are paid back for volumes of unclaimed connected capacity in accordance with section VI of the present Rules.”;

to append with 16.1 – 16.3 of the following content:

“16.1. The Applicants mentioned in paragraphs 12.1 and 14 of the present Rules bear balance and operational responsibility in the borders of their area to the borders of the area of the Applicant; balance and operational responsibility is born by the Grid Company, if another is not stipulated by the agreement between the Grid Company and the Applicant, concluded on the basis of its Application to the Grid Company.

For the purpose of the present Rules under the border of the area of the Applicant it is understood, the borders of the land plot proved by the title documents, or the borders of other real estate, where located the electric power receiving units or mobile facilities of the Applicants, owned by the Consumer under the property right or on any other legal basis mentioned in point 13 of the present Rules, in which relation it is supposed to perform measures on the technological connection.

16.2. Making payment by the Applicants mentioned in point 12.1 of the present Rules, for the technological connection of the electric power receiving units with peak capacity higher than 15 and up to 100 kW inclusively (considering the earlier connected capacity in the given capacity connection terminal), as well as the Applicants mentioned in paragraph 34 of the present Rules are performed in the following order:

a) 15 percent of payment for the technological connection are paid within 15 days from the Contract conclusion date:

b) 30 percent of payment for the technological connection are paid within 60 days from the Contract conclusion date, but not later than the date of actual connection;

c) 45 percent for the technological connection are paid within 15 days from the act conclusion date by the Parties on technical specification performance, act on inspection of the control instruments and agreement of calculation design of electric power (capacity) control, as well as on balance participation of the electric power grids and act of operational responsibility delimitation of the Parties;

d) 10 percent of payment for the technological connection are made within 15 days from the date of actual connection.

16.3. Obligations of the Parties on fulfillment of measures on the technological connection in case of Contract conclusion with the entities, mentioned in points 12.1. – 14 and 34 of the present Rules are distributed in the following manner:

The Applicant performs the mentioned obligations within limits of the area borders, where located the electric power receiving units which are to be connected;

the Grid Company performs the mentioned obligations (including in part of regulation of the relations with other entities) till the borders of the area where the connected electric power receiving units of the Applicant are located.”;

paragraph 17 to state in the following revision:

“17. Amount of payment for the technological connection of the electric power receiving units of peak capacity which is not higher than 15 kW, inclusively (considering the earlier connected in the given capacity connection terminal), is determined from the cost of activities on the technological connection in amount of not higher than 550 rubles under condition that the distance from the borders of the area of the Applicant to the facilities of the electric power grid, necessary for the Applicant of the voltage class of the Grid Company, to which the Application has been submitted, comprises not longer than 300 meters in towns and urban settlement and not longer than 500 meters in rural locations.

In respect of the mentioned in point 12.1 of the present Rules of the Applicants, peak capacity of the electric power receiving units which capacity is higher than 15 and up to 100 kW inclusively (with consideration of the earlier connected capacity in the given capacity connection terminal), in the Contract (as per wish of such Applicants) it is foreseen a possibility of interest free payment by installments in amount 95 percent of the payment for the technological connection under condition of quarterly installment of payment in equal shares from the total amount of sum for the period up to 3 years from the date of signing the Act by the Parties on performing the technological connection.

Inclusion in the payment amount for the technological connection of the electric power receiving units of the Applicants, mentioned in paragraph 13 and 34 of the present Rules, investment component for reimbursement of costs related to development of the existing infrastructure, including connections among the facilities of the territorial Grid Companies and facilities of the Unified National (all-Russia) Electric Power Grid, excepting the losses for construction of the facilities of the electric power grid facilities from the existing facilities of the electric power grids to the border of the area of the Applicant is not allowed.”;

in paragraph 18:

in subparagraph “a” after words “with the system operator” to append words “(with the subject of operative – dispatcher management in technologically isolated territorial electric power systems)”;

subparagraph “c” to append words “, except of cases, when in accordance with the Legislation of the Russian Federation on town building, development of the draft documents is not obligatory”;

subparagraph “f” to append words “(for entities, mentioned in points 12.1 – 14 of the present Rules, inspection of the connected electric power receiving units shall be effected with participation of the Grid Company and the Applicant)”;

subparagraph “g” to state in the following revision:

“g) performing by the Grid Company of the actual connection of the facilities of the Applicant to the electric power grids and switch on the switching board (fixation of the switching board in “switched on” position).”;

The second paragraph of point 19 after the word “services” to append words “and obligations”;

In paragraph 20 words “in the third paragraph” to replace with words “in the fourth paragraph”;

the second paragraph of point 21 to append words “(excepting the Applications, submitted by the Applicants, mentioned in points 12.1 -14 and 34 of the present Rules)”;

the first paragraph of point 22 after words “entrepreneurs” to append words “, except entities, mentioned in point 12.1 of the present Rules”, after words “individuals” to append words “, except entities stated in point 14 of the present Rules”;

the second paragraph of point 24 after words “with the system operator” to append words “(subject of operational dispatch management in the technologically isolated territorial electric power systems)”;

in paragraph 25:

in the first paragraph after word “conditions” to append words “for Applicants, except entities, mentioned in points 12.1 and 14 of the present Rules,”;

in subparagraph “b” after words “obligatory for execution by the Grid Company” to append words “at its expense”;

to append point 25.1 of the following content:

“25.1. in technical specifications for the Applicants provided by points 12.1 and 14 of the present Rules, shall be mentioned:

a) connection terminals which cannot be placed further than in 25 meters from the area border where located (will be located) the connected facilities of the Applicant;

b) reasonable requirements to strengthening of the existing electric power grid in relation to connection of new capacity (construction of new lines of electric power substations, enlarging cross-sections of the wires and cables, replacement or increasing the transformers capacity, distribution units enlarging, equipment modernization, reconstruction of the facilities of the electric power facilities, installation of voltage adjusting units to provide reliability and quality of electric power), obligatory for execution by the Grid Company at its expense;

c) requirements to the electric power (capacity) metering instruments, relay protection  units and units providing peak capacity value control;

d) distribution of obligations between the Parties on fulfillment of the technical conditions:

in limits of the area borders where the electric power receiving units of the Applicant are located, - for the Applicant;

till the area border where the electric power receiving units of the Applicant are located, including regulations of relationships with other persons, - for the Grid Company.”;

the second paragraph of point 26 after word “the Applicant” append words “(except the entities stated in points 12.1 and 14 of the present Rules)”;

paragraph 27 to append text of the following content:

“In case, the Applicant or the owner of the earlier connected facilities has applied to the Grid Company with an Application for restoration of the earlier given technical specifications, which loss occurred in relation to liquidation, reorganizing, termination of activity of the previous owner (the Applicant), selling the facilities, and on other reasons the Grid Company gives out duplicates of the earlier given technical specifications with notification of the connected (peak) capacity value of the electric power receiving units of the Applicant.

If it is impossible to restore the earlier given technical specifications in relation to the connected electric power receiving units, new technical specifications are given out according to the actually existing scheme of the electric power supply with notification on peak capacity, equal to actually consumed peak capacity within the last 5 years, or coming from the submitted by the Applicant other reliable data on volumes of the earlier connected capacity in the established order of the peak capacity.

When giving out duplicates of the technical specifications or new technical specifications in relation to the earlier connected electric power receiving units are compiled and given out to the Applicant, Act on performing the technological connection, Act on balance participation of the electric power grids and Act on operation responsibility of the Parties. The Applicant or a new owner of the connected electric power receiving units is obliged to compensate expenses to the Grid Company for making new technical specifications and the mentioned Acts. At the same time, amount of losses compensation for making the mentioned documents cannot be higher 1000 rubles.

The Grid Company performs storage of the duplicates of the technical specifications, Acts on technological connection performing, delimitation Acts on balance participation, and Acts on delimitation of operational responsibility of the Parties, given out to the Applicant, the electric power receiving units of which are connected to its electric power grids, within 30 years from the actual connection date of the electric power receiving units of the Applicant.”;

in paragraph 30:

The first paragraph after words “electric power facilities” to append words “(except the facilities of the Applicants, mentioned in paragraph 13 of the present Rules)”;

the second paragraph to state in the following revision:

“If connection of the electric power receiving units requires construction (reconstruction) of the electric power grid facility, which is not included in the mentioned investment programmes for the next regulation period, or, if the Application for the technological connection in accordance with paragraph 34 of the present Rules, the Grid Company within 30 days period upon receipt of the Application addresses to the authorized body of the executive power in the field of governmental tariff regulation for calculation payment for the technological connection per individual design. In case of the technological connection to the facilities of the Unified National (all-Russia) Electric Power Grid, the Grid Company applies to the authorized body of the executive power in field of the governmental tariff regulation for payment calculation for the technological connection on the individual draft within 15 working days from the period expiration date, established by the agreement between the Applicant and the Grid Company for development and agreeing with the authorized bodies of the governmental power of the draft documentation, but not later than in 9 months from the Application receiving date at the Grid Company. If the Applicant expresses agreement to effect the payment for the technological connection under the individual draft in amount determined by the mentioned authorized body, the Grid Company has not a right to refuse in conclusion of the Contract.”;

to append point 33.1 of the following content:

“33.1. the Provisions of the present section are not applied to entities, mentioned in paragraphs 12.1 and 14 of the present Rules, in case of effecting the technological connection of the electric power receiving units of the mentioned Applicants to the electric power grids of voltage class up to 20 kV inclusively.”;

to append the sections IV-VI of the following content:

“IV. Specifics of the technological connection of the electric power receiving units of the Consumers by means of redistribution of the connected capacity between the legal entities and individual entrepreneurs

34. The Applicants (except the entities mentioned in paragraph 12.1 of the present Rules, the connected capacity of the electric power receiving units which capacity comprises up to 15 kW inclusively, the Applicants mentioned in paragraph 13 and 14 of the present Rules, as well as the Applicants of the connected to the facilities of the Unified National (all-Russia) Electrical Grid, the Applicants who have not paid for the technological connection, or who have paid for the technological connection not in full amount), having under the property right, or owing electric power receiving units on any other legal basis, in relation to which before 1 January 2009 in the established order the actual technical connection have been made to the electric power grids, have the right under agreement with other owners of the electric power receiving units to reduce the volume of the connected capacity (surplus, realized potential of electric power saving and other) of own electric power receiving units with simultaneous redistribution of the volume reducing of the connected capacity in favour of other owners within limits of action of appropriate main substations (when effecting redistribution of the connected capacity in the electric power grids of voltage class from 0.4 to 35 kV), a feeding substation of voltage class 35 kV is considered as the main substation, during effecting redistribution of the connected capacity in the electric power grids of voltage class higher than 35 kV, as the main substation is considered the substation to which the technological connection has been made of the electric power receiving units of the entity redistributing its connected capacity).

Entities who have concluded the Contract on redistributing of the connected capacity between their owned electric power receiving units (further – the Contract of capacity redistribution), sends a notification signed by the Parties to the Contract (further – the Notification), to the Grid Company, to the grid facilities of which the electric power receiving units of the mentioned entities have been connected earlier in the established order.

In the Notification it is stated the names and requisites of the Parties to the Contract, the main substation to which the technological connection has been made of the electric power receiving units of the mentioned entities, location place of those units (electric power grids) of the mentioned entities and volume of redistributed capacity. Copies of the Act on performing the technological connection or of other documents are attached to the Notification, proving the volume of connected and peak capacity, the Application for the technological connection of the electric power receiving units of the entity, in which favour it is supposed to redistribute the surplus of the connected capacity, and certified copy of the concluded capacity redistribution Contract. It is allowed to redistribute the volume of peak capacity of several entities in favour of one entity within operation of one main substation border.

In the Contract of capacity redistribution, the following obligations of the entity (entities) shall be provided, which connected capacity of the electric power receiving units is redistributed:

Change of the relay protection units and units providing control of peak capacity value for volume reducing of the connected and peak capacity in volumes, provided in the Contract on redistribution of capacity, in the period till the actual connection of the electric power receiving units of the entity, in which favour the connected capacity is redistributed, in case of operation ownership of those units to the entities who redistributing the connected capacity of the electric power receiving units;

Making amendments in documents, providing interrelations of the Grid Company and entity (entities), which connected capacity of the electric power receiving units is redistributed or signing new documents, fixing the volume of the connected capacity after its redistribution (technical specifications, technological connection performance act), in period prior to the actual performance of the connection of the entity in whose favour the connected capacity is redistributed.

35. Any entity, interested in redistribution in its favour of the connected capacity of other entities, the electric power receiving units of which are connected in the established order to the electric power grids, have a right in presence of agreement of those entities to apply to the Grid Company, to which grids their electric power receiving units are connected, to get cost calculation of the technological connection by means of redistribution of the connected capacity (further –  the Calculation Request) as per the individual draft.

In the Calculation Request it is stated:

Name of the entity, which connected capacity of the electric power receiving units, is distributed (with notification of the location place of the electric power receiving units, electric power grid connection terminals, and redistributed capacity);

Name of the entity in which favour the connected capacity is redistributed with notification of the location place of connected (already connected) electric power receiving units, electric power connection terminals (if they are available) and volume of redistributed connected capacity.

Copies of the Act on the technological connection are attached to the Calculation Request or other documents proving the volume of the connected and peak capacity.

36. In case, if the other is not stipulated in paragraph 39 of the present Rules, the Grid Company on request of the entities stated in paragraph 35 of the present Rules within 30 days is obliged to send to those entities in written information considering:

cost calculation of the technological connection on the individual draft – for the entities wishing to perform the technological connection by means of redistribution of the connected capacity of the electric power receiving units of other entities;

information on possible connection terminals to the electric power grids of the electric power receiving units of the entity in whose favour the connected capacity is redistributed;

Requirements to change of the units relay protection and units providing control of peak capacity value of the electric power receiving units of the entities who redistribute the connected capacity in favour of another entity, in case, of operation ownership of those units to the entities who redistribute the connected capacity of the electric power units.

The information is provided on non-gratuitous basis, and the payment could not comprise more than 550 rubles on the Calculation Request.

37. to the relationships appearing after notification receiving by the Grid Company, the provisions are applied stipulated by the present Rules for the technological connection of the electric power receiving units, if another is not stipulated by the present section.

Amount of payment for the technological connection for the Applicant, in whose favour it is supposed to redistribute the connected capacity is determined as per individual draft coming out from the expenses of the Grid Company for performing measures relating exclusively to the measures on redistribution of the connected capacity of the exact electric power receiving units (electric power grids) and construction of the grid infrastructure from the area borders of the Applicant to the electric power grid of the Grid Company.

38. The entity who has concluded the Contract of capacity redistribution and which connected capacity of the electric power receiving units is redistributed, obliged to carry out the necessary actions on reducing the connected capacity of its electric power receiving units before completion period of measures performing on the technological connection of the electric power receiving units of the entity, in whose favour under the Contract of capacity redistribution, the connected capacity is redistributed, as well to perform the following requirements of the Grid Company in frames of the main substation of which is performed redistribution of capacity under the Contract of capacity redistribution:

To change the relay protection units and units providing control of peak capacity value for reducing the volume of the connected capacity in volumes provided by the Contract of capacity redistribution, in case these units operationally belong to the entities who redistribute the connected capacity of the electric power receiving units;

to bring changes in documents, provided interrelations of the Grid Company and the mentioned entity, or to sign new documents fixing the volume of the connected capacity and peak capacity after its redistribution in accordance with the Contract of capacity redistribution (technical conditions, technological connection performance Act).

The Grid Company is obliged to send to the entity which connected capacity of the electric power receiving units is redistributed under the Contract of capacity redistribution, the mentioned requirements within 10 working days from the date of technical specifications issue to the entity in whose favour the connected capacity is redistributed under the Contract of capacity redistribution.

Prior to performing the mentioned requirements of the Grid Company, the actual connection of the electric power units of the entity, in whose favour the connected capacity has been redistributed, is not effected.

39. The Grid Company has a right to refuse in submission of information, mentioned in paragraph 36 of the present Rules, and (or) in Contract conclusion with the entity, in whose favour the connected capacity is redistributed, by the following reasons:

a) the notification and (or) the Calculation Request are submitted to the Grid Company, which does not own the grid facility to which the electric power receiving units are connected of the entity (entities), which connected capacity is redistributed;

b) the notification and (or) the Calculation Request has not information, established in paragraphs 34 and 35 of the present Rules, or content inaccurate information:

c) in a certified copy of the concluded Contract of capacity redistribution with notification submitting, obligations of the entity (entities) has not been foreseen, which connected capacity of the electric power receiving units is redistributed:

on change of the units of relay protection and units providing control of peak capacity value for reducing the connected capacity volumes in quantities provided by the Contract of capacity redistribution in period before the actual connection of the entity, in whose favour the connected capacity is redistributed (in case of operation ownership of the units of the entities, redistributing the connected capacity of the electric power receiving units);

on bringing changes in documents, foreseen interrelations of the Grid Company and entities (entity), the connected capacity of the electric power receiving units which are redistributed or signing new documents, fixing the volume of the connected capacity after its redistribution (technical specifications, technological connection performance Act), in period before the actual connection of the electric power receiving units of the entity in whose favour the connected capacity is redistributed.

40. It is allowed an indirect technological connection of the electric power receiving units of the Applicant to the electric power grids via the electric power facilities of the entities who have concluded the Contract with the Applicant for redistribution of part of the connected capacity of own electric power receiving units in favour of the Applicant (further – the third Parties) under condition of conclusion by the Applicant and the third Party of the Contract of indirect connection of the electric power receiving units of the Applicant.

The order of reimbursement for losses of electric power in the electric power grids and the connection terminal to the electric power grids of the third Parties are established in the Contract of indirect connection of the electric power receiving units of the Applicant. In case of absence, reimbursement conditions in such Contract for losses of electric power in the electric power grids, amount of losses in the electric power grids of the third Party is paid by the Applicant.

During the technological connection of the electric power receiving units of the Applicant via the electric power facilities of the third Parties, a certified copy of the Contract of indirect connection of the electric power receiving units of the Applicant is submitted by the Applicant to the Grid Company simultaneously with the information provided in paragraph 34 of the present Rules.

V. Specifics of the technological connection of the facilities of the electric power receiving facilities

41. The Grid Company is obliged to submit the Application for the technological connection to the grids of allied grid company in cases if: the peak capacity of the electric power receiving units of the Consumers, connected to its grids, exceeds the peak capacity values agreed by the Grid Company and the allied grid company in the Act of balance participation of the electric power grids of the given grid companies;

sum of peak capacities of the electric power receiving units of the Consumers, connected to its grids, and the volume of the committed capacity, mentioned in the concluded Contracts of the technological connections to its grid facilities, exceeds the volume of the peak capacity, agreed by the Grid Company and the allied grid company in the Act of balance participation of the electric power grids for the given Grid Companies.

42. when connecting the electric power grid facilities of one Grid Company (property owner or other legal owner of the electric power grid facilities) to the electric power grid facilities of the other Grid Company, the Application for technological connection is submitted to the Grid Company, the electric power grids of which in the given connection terminal have higher voltage class.

When connecting the electric power grid facilities of the Grid Company (property owner or any other legal owner of the electric power facilities) to the electric power grid facilities of the allied grid company, having the same voltage class, the Application for the technological connection is submitted by the Grid Company, which needs to increase the electric power (capacity) flow.

43. Every Grid Company is obliged to inform the superior allied grid company:

on the volume of connected (maximum) capacity to its grid facilities on the 1st date of a month following the quarter (period of submitting the mentioned information comprises 10 working days from the 1st date of a month, following after the quarter);

on accumulated peak capacity for the passed quarter, mentioned in the Applications received from the Applicant for the technological connection to its grid facilities and concluded Contracts for the technological connection for the past quarter (period of submitting of the mentioned information comprises 20 working days from the 1st date of a month, following after the quarter);

on the stated data, received from other allied companies with notification of their main substation (the period of submitting of the mentioned information comprises 20 days from the date of data receiving from the allied companies).

On the mentioned data, received from other allied companies with notification of their main substation (the period of submitting their information comprises 20 days from the date of data receiving from the allied companies).

For the purpose of the present Rules under the superior allied grid company it is understood an allied grid company, which electric power grids have higher voltage class. In case, all allied grid companies have an equal voltage class, as the superior grid company is considered the Grid Company connected to the electric power grid of higher voltage class.

The Grid Company has not a right to refuse to the allied grid company in conclusion of the Contract. In case, the Grid Company is obliged in accordance with the present Rules to submit the Application to the technological connection, does not submit it within 30 days, the allied grid company has a right to request information and documents mentioned in paragraphs 9 and 10 of the present Rules, as well as to send them a suggestion on the Contract conclusion, and the Grid Company is obliged to submit information and documents mentioned in paragraphs 9 and 10 of the present Rules within 15 working days from the receiving date of the allied grid company and to conclude the Contract in accordance with the present Rules.

VI. Specifics of interrelation of the Grid Companies and Applicants when money is paid back for the volumes of unclaimed connected capacity

44. The Applicants – legal entities and individual entrepreneurs, having under the property right or on any other legal basis, the electric power receiving units of total connected capacity higher than 15 and up to 100 kW inclusively, in which relation have been effected measures after the 1st of January 2009 in the established order by the actual connection to the electric power grids in a full volume, has a right to send to the Grid Company, to the electric power grids of which are connected the mentioned electric power receiving units within 5 years from the actual connection date of the mentioned units, requirement on money funds pay back, earlier paid by such Applicants under the Contract, for the volume unclaimed connected capacity under condition of reducing the appropriate volume of the connected capacity relating to the electric power receiving units of such Applicant (further – Demand for return of money).

For the purpose of the present Rules under the unclaimed connected capacity it is understood the volume of connected capacity determined by the Applicant independently coming from the volumes of electric power consumption.

45. The Applicants mentioned in paragraph 44 of the present Rules send to the Grid Company the Demand for return of money by a registered letter with delivery confirmation, having mentioned:

a) the requisites of the Applicant (for legal entities – full name and number of record in the Uniform State Register of Legal Entities, for individual entrepreneurs – number of record in the Uniform State Register of Individual Entrepreneurs and date of its enter in the Register), including the requisites necessary for receiving of payment in non-cash manner;

b) name and location places of the electric power receiving units of the Applicant, earlier connected to the electric power grids in the established order;

c) peak and connected capacities of the electric power receiving units;

d) quantity of connection terminals;

e) level of reliability of the electric power receiving units;

f) volume of unclaimed connected capacity;

g) amounts of earlier paid money by the Applicant under the Contract (without taxes) for the volume of unclaimed connected capacity;

h) consent with reducing volume of the connected and peak capacities of own electric power receiving units for the volume of the mentioned unclaimed connected capacity.

46. To the Demand for return of money, it is attached the letter of attorney or other documents, confirming the authorities of the entity signed the Demand and certified copies of the following documents:

a) technical specifications;

b) Act on delineation of operational responsibilities of the Parties;

c) Act on balance participation of the electric power grids;

d) Act on performance of the technological connection;

e) payment order or other documents confirming the payment under the Contract

47. The Grid Company within 30 days from the Demand for return of money receiving date and documents, provided by paragraph 46 of the present Rules, performs check of integrity of the information mentioned there.

In case of unreliable information submitting, or absence of complete data, foreseen by paragraph 45 of the present Rules, in the submitted documents the Grid Company sends to the Applicant a motivated refusal in money return within 30 days period from the receiving date of the mentioned documents.

48. In case, the reliability of information has been confirmed, mentioned in the Demand for return of money and documents provided by paragraph 46 of the present Rules, the Grid Company is obliged to send to the Applicant within 30 days from the receiving date of the mentioned documents, signed by the Grid Company corrected exclusively with consideration of reducing volume of the connected and the peak capacity of the electric power receiving units for a volume of unclaimed connected capacity, mentioned in the Demand for return of money, the following documents which are sent to the Applicant by a registered letter with delivery confirmation:

a) technical specifications;

b) Act on delineation of operational responsibilities of the Parties;

c) Act on balance participation of the electric power grids;

d) Act on technological connection performance.

49. The Grid Company is obliged to transfer the amount of the earlier paid money by the Applicant under the Contract (without taxes) for the volume of unclaimed connected capacity, to the requisites mentioned by the Applicant in the Demand for return of money, within 15 working days from the receiving date at the Grid Company of the documents signed by the Applicant, and mentioned in paragraph 48 of the present Rules.”

______________________________________________________________________